|  |  |  |  |
| --- | --- | --- | --- |
| **DRAFT TABLE 2 – CATEGORIZATION OF APPLICABLE COMPONENTS**  **July 14, 2023** | | | |
| **Applicable Project** | **Applicable Project Component** | **Manufactured Product Component** | **Categorization** |
| Hydropower Facility, or Pumped Hydropower Storage Facility | Manufactured Products associated with Reservoir (Upper/Lower) | Spillway Gates, Cranes, Hoists and Operating equipment; | Manufactured Product |
| Water Conveyance | Isolation valves, gates (including Draft Tube gates) and bulkheads, debris removal systems, Cranes, Hoists, and operating equipment | Manufactured Product |
| Intake and Discharge structures, trash racks, penstocks, concrete and steel lined tunnels, (high pressure and low pressure) and reinforcing bar | Steel and Iron |
| Hydroelectric Unit | Turbine / Pump Turbine System  Motor/Generator System  Power Train Components  AC and DC Excitation Systems and static frequency converters. | Manufactured Product |
| Powerhouse Structure (including foundation) | All structural steel and reinforcing bar to receive and support equipment loadings (does not include manufactured product embedments) | Steel and Iron |
| Mechanical Balance of Plant Auxiliary Systems | Mechanical Auxiliary equipment including Cranes, Air, Water and Oil Systems including pumps, valves | Manufactured Product |
| Electrical Balance of Plant Auxiliary Systems | Electrical Auxiliary Equipment including Power, controls, circuit breakers, instrumentation, | Manufactured Product |
| Governor/Speed Controls | Governor System including controls and oil system | Manufactured Product |
| High Voltage Switchyard and Interconnection- Power Equipment | Generator Step-Up Transformers, High voltage circuit breakers, | Manufactured Product |
| High Voltage Switchyard and Transmission Interconnection – Structural | Steel and Iron for the Switchyard and transmission interconnection structures and foundations | Steel and Iron |
|  | Turbine Shut Off Valve | Isolation Valve System (including Isolation Valve, Penstock Flanges, Hydraulic Pumping System & Accumulators, Spherical Isolation Valve Control System, Bypass Piping and Components | Manufactured Product |